## Slide 1: Image Transfer in MeasurementLink

## Slide 2: POC on Image transfer to InstrumentStudio
Unpack Configuration
Load Image from disk
Convert Image to gRPC supported type
Pack and send the result
LabVIEW Measurement
Trigger from IS
Image data through
gRPC
Convert back to Image
+
Visualize in IS
InstrumentStudio

## Slide 3: Time Taken to transfer image data

## Slide 4: Image Streaming
Unpack Configuration
Acquire stream of images
Convert Image to gRPC supported type
Pack and send the result
LabVIEW Measurement
Trigger from IS
gRPC streaming in
loop
Convert back to Image
+
Visualize in IS
InstrumentStudio
75 ms per frame

## Slide 5: Approximate Time Taken to transfer a frame
S.NO | Resolution (x*y) | Average Time Taken for sending each frame of image | Approach | Frame Rate
1 | 1280x720 | 75 ms | Compressed string to byte array | 30 fps
2 | 1280x720 | 150 ms | U32 1D array | 
3 | 1280x720 | 750 ms | Json string | 
4 | 1920x1080 | 100 ms | Compressed string to byte array | 
5 | 1920x1080 | 300 ms | U32 1D array | 
6 | 1920x1080 | 1.3 s | Json string |